## Sheet1
Item | Quantity | Price per | Total $ | Purchased from:
Solar Starter Kit w/100W Panel + 30A PWM Charge Controller | 1 | 169.99 | 169.99 | https://smile.amazon.com/gp/product/B00BFCNFRM/ref=detailpage?ie=UTF8&psc=1
Renogy 100 Watts 12 Volts Monocrystalline Solar Panel | 2 | 124.99 | 249.98 | https://smile.amazon.com/gp/product/B009Z6CW7O/ref=oh_aui_detailpage_o00_s00?ie=UTF8&psc=1
Renogy MC4 Y Branch Connectors | 2 | 11.04 | 22.08 | https://smile.amazon.com/gp/product/B00Q5W30FY/ref=oh_aui_detailpage_o08_s00?ie=UTF8&psc=1
1100 Watt 12V Power Inverter Dual 110V AC Outlets | 1 | 84.97 | 84.97 | https://smile.amazon.com/gp/product/B00T564EIY/ref=oh_aui_detailpage_o09_s00?ie=UTF8&psc=1
8-Way 30A 32V Blade Fuse Box with LED Warning Light | 1 | 16.99 | 16.99 | https://smile.amazon.com/gp/product/B073VM9WC3/ref=detailpage?ie=UTF8&psc=1
10 GAUGE WIRE RED & BLACK POWER GROUND 100 FT EACH | 2 | 24.95 | 49.9 | https://smile.amazon.com/gp/product/B01C7O8166/ref=oh_aui_detailpage_o02_s00?ie=UTF8&psc=1
30 Sets AWG. 12-10 24A Wire Connector Quick Disconnects | 1 | 8.99 | 8.99 | https://smile.amazon.com/gp/product/B074KD78VS/ref=od_aui_detailpages00?ie=UTF8&psc=1
12V DC Inline Circuit Breaker Fuse for System Protection (80A) | 1 | 11.99 | 11.99 | https://smile.amazon.com/gp/product/B01LA7PSQ2/ref=od_aui_detailpages00?ie=UTF8&psc=1
12V DC Inline Circuit Breaker Fuse for System Protection (50A) | 1 | 12.99 | 12.99 | https://smile.amazon.com/gp/product/B01H3DKGA0/ref=oh_aui_detailpage_o08_s00?ie=UTF8&psc=1
Blue Sea Systems Common BusBars (150A, 10-screw, w/o Cvr) | 1 | 14.46 | 14.46 | https://smile.amazon.com/gp/product/B000K2MA9C/ref=oh_aui_detailpage_o06_s00?ie=UTF8&psc=1
Blue Sea Systems Common BusBars (150A, 10-screw, w/ Cvr) | 1 | 16.56 | 16.56 | https://smile.amazon.com/gp/product/B0091VHLW4/ref=oh_aui_detailpage_o06_s00?ie=UTF8&psc=1
Light Switch On/Off Paddle Wall Switch 10-pack | 1 | 19.99 | 19.99 | https://smile.amazon.com/gp/product/B00QXOSTFU/ref=oh_aui_detailpage_o04_s01?ie=UTF8&psc=1
2pc 10kΩ potentiometer with On/Off position | 1 | 9.99 | 9.99 | https://smile.amazon.com/gp/product/B07DHGQSBT/ref=oh_aui_detailpage_o01_s01?ie=UTF8&psc=1
RV Boat Recessed Ceiling Light 4 Pack Super Slim LED | 2 | 32.99 | 65.98 | https://smile.amazon.com/gp/product/B012ZOI44C/ref=oh_aui_detailpage_o01_s01?ie=UTF8&psc=1
13.5" Car Interior Led Light Bar 3.5W 72 LED Lamp | 3 | 11.99 | 35.97 | https://smile.amazon.com/gp/product/B01N4D2OHQ/ref=oh_aui_detailpage_o04_s01?ie=UTF8&psc=1
2Pack Cigarette Lighter Outlet Socket Receptacle | 3 | 9.99 | 29.97 | https://smile.amazon.com/gp/product/B07CLKN4P4/ref=oh_aui_detailpage_o04_s01?ie=UTF8&psc=1
12V DC Fresh Water Pressure Diaphragm Pump | 2 | 21.99 | 43.98 | https://smile.amazon.com/gp/product/B01N75ZIXF/ref=oh_aui_detailpage_o04_s01?ie=UTF8&psc=1
12V DC Fan for bathroom | 1 | 7.56 | 7.56 | https://smile.amazon.com/gp/product/B002KTVFTE/ref=oh_aui_detailpage_o01_s00?ie=UTF8&psc=1
Thermoelectric Peltier Air Cooling Dehumidification Equipment | 1 | 67.79 | 67.79 | https://smile.amazon.com/gp/product/B074TX9CQC/ref=detailpage?ie=UTF8&psc=1
Koolatron KCR40B AC/DC Hybrid Heat Pipe Refrigerator | 1 | 202.86 | 202.86 | https://smile.amazon.com/gp/product/B003UV4IXG/ref=oh_aui_detailpage_o00_s01?ie=UTF8&psc=1
*12V Stove, Frying Pan, and Kettle will be purchased in the future, but have not yet been acquired (estimated cost ≈ $100).
**Electrical outlets, entry/junction boxes, 50ft extension cord (cannibalized for 120V AC wiring) and other small components/hardware purchased from local hardware store as needed (estimated cost ≈ $100).
Total System Cost for All Electrical Components |  | ≈ | 1342.99